WaterMark认证产品目录

| 序号 | 产品名称 | 序号 | 产品名称 |
| --- | --- | --- | --- |
| 1 | Airconditioner (evaporative cooler) 空调（蒸发冷却器） | 19 | Slab板式尿槽 |
| 2 | Bain -marie双层蒸锅 | 20 | Stall落地式小便器 |
| 3 | Bedpan washer/sterilizer便盆冲洗器/消毒器 | 21 | Trough 尿槽座便器 |
| 4 | Dental equipment牙科设备 | 22 | Wall-hung墙挂式小便池 |
| 5 | Water filters and water treatment appliances净水器和水处理设备 | 23 | Waterless wall-hung免冲洗挂墙小便器 |
| 6 | Household food waste 家庭食品废物处理机 | 24 | Remote control urinal flush system 遥控式小便冲洗系统 |
| 7 | Commercial food waste 商业食品废物处理机 | 25 | Waterless or limited flush urinals with integral sealing device 无水或限冲洗小便池配完整的密封装置 |
| 8 | Sanitary napkin卫生棉处理机 | 26 | Water closet pan抽水马桶 |
| 9 | Placenta/surgical waste 胎盘/手术废物处理机 | 27 | WC pan and flushing cistern 瓷质马桶和冲厕水箱 |
| 10 | Disposable nappy 一次性尿布处理机 | 28 | WC pan and mains supplied flushing valve 资质马桶和主要冲洗阀 |
| 11 | Fruit /vegetable水果/蔬菜Peeler 削皮器 | 29 | Solar water heater太阳能热水器 |
| 12 | Bidet净身盆 | 30 | Photographic processor感光处理器 |
| 13 | Bidette坐浴盆 | 31 | Beverage dispenser and ice maker 冷饮机和制冰机 |
| 14 | Douche seats冲洗器坐垫 | 32 | Spray apparatus喷涂装置 |
| 15 | Dual flush 双冲水箱 | 33 | Steamer/humidifier蒸汽锅/增湿器 |
| 16 | Single flush单冲水箱 | 34 | For drinking water purposes饮用水加热器 |
| 17 | Urinal 小便池水箱 | 35 | Gas storage water heater燃气热水器 |
| 18 | Purpose-built bathroom modules 特定目的建造的洗手间模式 | 36 | supplied flushing valve 瓷质马桶和断流水箱的主要冲洗阀 |

| 37 | sterilizer消毒器/杀菌器 | 50 | Electric instantaneous water heater 电即热式热水器 |
| --- | --- | --- | --- |
| 38 | Vacuum cleaner吸尘器 | 51 | Gas instantaneous water heater 即热式燃气热水器 |
| 39 | Clothes 洗衣机 | 52 | Boiling water dispenser沸水器 |
| 40 | Dish 洗碗机 | 53 | Hot water heater dispenser热水加热器 |
| 41 | Glass 洗杯机 | 54 | Hot water storage and pre-heat storage 热水储存和预热储存器 |
| 42 | Direct heating直接加热 | 55 | Non-pressurized pipes and fitting 常压的管道和部件 |
| 43 | Heat exchanger热交换器 | 56 | Fittings--Gullies 部件--檐槽 |
| 44 | For dairies用于奶制品的蓄热器 | 57 | Cast iron铸铁 |
| 45 | copper铜 | 58 | Copper and copper alloy铜和铜合金 |
| 46 | Copper alloy铜合金 | 59 | PVC聚氯乙烯 |
| 47 | PVC聚氯乙烯 | 60 | Air relief放气门 |
| 48 | Vitrified clay缸瓦管;陶土管 | 61 | Air admittance(induct/one way) 进气（单只进气口） |
| 49 | Positive air pressure attenuator正压调节器 | 62 | Copper alloy铜合金 |
| 63 | Non-plastic waste outlet 非塑性废水出口管道 | 84 | Cast iron铸铁 |
| 64 | Integral pop-up waste 连体连弹式的废物部件 | 85 | copper铜 |
| 65 | Plastic connector塑料连接器 | 86 | Fibre-reinforced cement纤维增强粘合剂 |
| 66 | Plastic waste outlet塑料废水出口 | 87 | Glass-filament-reinforced thermosetting plastic(GTP) 玻璃钢 |
| 67 | Non-plastic fixture trap非塑性水封 | 88 | Grey cast iron灰铸铁 |
| 68 | Non-plastic connector 非塑料连接器 | 89 | Polyethylene DN 32 to DN 100 聚乙烯（内径32-100） |
| 69 | Plastic fixture trap 塑性水封 | 90 | Polyethylene greater than DN 100 聚乙烯（内径>100） |
| 70 | Self-sealing trap自密封圈闭 | 91 | Polypropylene聚丙烯 |
| 71 | Wash down diversion下冲式导离 | 92 | Polyvinyl chloride (PVC)聚氯乙烯（PVC） |
| 72 | Grey water diversion device洗盥污水分流装置 | 93 | Stainless steel不锈钢 |
| 73 | Flexible coupling(metal-banded) 缓冲接头（铁带钢带） | 94 | Vitrified clay缸瓦管;陶土管 |
| 74 | Acrylonitrile butadiene styrene(ABS) 丙烯腈二乙烯丁二烯 | 95 | Ductile/Cast iron球墨铸铁 |
| 75 | Non –pressure pipe常压管 | 96 | Copper alloy铜合金 |
| 76 | Non –pressure fittings常压零部件 | 97 | PVC聚氯乙烯 |
| 77 | Non –pressure pipe常压管 | 98 | Non-return reflux valves for sewer 止回流阀（用于污水管） |
| 78 | Non –pressure fittings常压零部件 | 99 | Copper alloy pipe铜合金管道 |
| 79 | Non -pressure常压 | 100 | Copper alloy fitting铜合金部件 |
| 80 | Sewer 下水道，排水沟 | 101 | Couplings for roll-grooved joints 用于轧辊的轧槽结合接头 |
| 81 | Copper pipe铜管 | 102 | Copper alloy, roll-grooved铜合金，轧辊的轧槽 |
| 82 | Copper fitting铜部件 | 103 | Cross-linked polyethylene pipe交联聚乙烯管 |
| 83 | Copperroll-grooved fitting铜轧辊的轧槽零部件 | 104 | Polyethylene pipe聚乙烯管道 |

| 105 | Cross-linked polyethylene fitting交联聚乙烯部件 | 119 | Fitting for polyethylene pipe 聚乙烯管道部件 |
| --- | --- | --- | --- |
| 106 | Flexible coupling(metal-banded) 缓冲接头（铁带钢带） | 120 | PVC fitting PVC部件 |
| 107 | Miscellaneous assemblies混合组装 | 121 | Polypropylene pipe 聚丙烯管道 |
| 108 | Macro composite pipe and fittings 复合管道和部件 | 122 | Polypropylene fitting 聚丙烯部件 |
| 109 | Polybutylene pipe聚丁烯管道 | 123 | PVC pipe PVC管道 |
| 110 | Polybutylene fitting聚丁烯部件 | 124 | Acrylonitrile butadiene styrene(ABS) 丙烯腈二乙烯丁二烯 |
| 111 | Stainless steel pipe不锈钢管 | 125 | Brazing alloy钎焊合金 |
| 112 | Stainless steel fitting不锈钢管部件 | 126 | lubricant润滑剂 |
| 113 | shower淋浴器 | 127 | Priming fluid底漆液 |
| 114 | Stainless steel repair clamps不锈钢修理夹 | 128 | sealant密封胶 |
| 115 | Gravity sanitary plumbing and drainage 上下卫生管道和排水 | 129 | solder焊接剂 |
| 116 | Water services and pressure sanitary plumbing and drainage供水和压力卫生管及排水 | 130 | Solvent cement液状粘固剂 |
| 117 | Flange gaskets凸缘衬垫 | 131 | Solvents for ABS用于ABS的溶液 |
| 118 | Reduced pressure zone device(RPZD) 减压区防回流阀 | 132 | Thread sealant螺纹高温密封脂 |

| 133 | Reduced pressure detector assembly(RPDA) 减压检测器组合防回流装置 | 146 | Pressure type vacuum breaker(PVB) 压力类真空断路器 |
| --- | --- | --- | --- |
| 134 | Double check valve(DCV)双止回阀 | 147 | Dual check valve with atmospheric port(DCAP)双止逆阀配带大气端口 |
| 135 | Double check detector assembly (DCDA) 双重检验检测器组合防回流装置 | 148 | Dual check valve with intermediate vent(Du CV)双止回阀，中置排气口 |
| 136 | Vented double check通风双止回阀 | 149 | Dual check valve(Dual CV)双止回阀 |
| 137 | Anti-spill pressure vacuum breaker(APVB) 防漏压力真空断路器 | 150 | Beverage dispenser dual check valve with atmospheric port（BDDC） 冷饮机双止回阀配带大气端口（BDDC） |
| 138 | Atmospheric vacuum breaker内真空断路器 | 151 | Non-return to heated water system 止热水回流系统 |
| 139 | Hose connector vacuum breaker (HCVB) 软连接管真空断路器 | 152 | Bib （水）龙头 |
| 140 | Vacuum breaker check valve(VBCV) 真空断路器止回阀 | 153 | bidette坐浴盆 |
| 141 | Single check单向阀 | 154 | Breaching se烟道导管装置 |
| 142 | Cistern水箱出水的阀门 | 155 | ferrule金属环 |
| 143 | Drinking fountain（公共场所的）喷泉式饮水器 | 156 | Flow control valve流量控制阀 |
| 144 | Float control valve浮子式水位控制阀 | 157 | laboratory（实验室用的）水龙头 |
| 145 | Hose 水管,橡皮软管 | 158 | Non-thermostatic没有恒温调节装置的 |

| 159 | Non-touch感应式水龙头 | 174 | butterfly蝶阀 |
| --- | --- | --- | --- |
| 160 | Pillar 立柱式龙头 | 175 | Cistern inlet水箱进口阀 |
| 161 | Self-closing自动关闭水龙头 | 176 | Cistern outlet水箱排水阀 |
| 162 | Stop喷淋截止阀 | 177 | Diaphragm隔膜阀 |
| 163 | Washing machine stop洗衣机截止阀 | 178 | Flush 冲洗阀 |
| 164 | Other type not listed未列出的型号 | 179 | Fire hydrant消防栓 |
| 165 | Control main to meter控制水表 | 180 | Fire protection-booster valves提高保护防火阀 |
| 166 | Control end-of-line控制水管末端 | 181 | Gate 闸阀 |
| 167 | Control isolating绝缘控制 | 182 | Rainwater tank connection雨水罐连接器 |
| 168 | Control break tank supplied控制改变水箱应用 | 183 | solenoid电磁阀 |
| 169 | Control mains-connected控制主件连接 | 184 | globe截止阀 |
| 170 | Copper alloy铜合金 | 185 | Transitional fitting过度部件 |
| 171 | Pressure-limiting限压阀 | 186 | Leak protection valve防漏阀 |
| 172 | Combination pressure limiting with dual CV 结合压力限制的双止回阀 | 187 | Trap priming valve滤网起动阀 |
| 173 | Pressure ratio valve压力定额阀 | 188 | Ductile iron延性铁 |

| 189 | Protection up to and including DN50 保护范围≥DN50 Pressure-reducing减压阀 | 202 | Expansion control增控阀 |
| --- | --- | --- | --- |
| 190 | Protection greater than DN50 保护范围> DN50 Pressure-reducing减压阀 | 203 | Non-return切断式止回阀 |
| 191 | Vacuum relief真空卸压阀 | 204 | Hot water manual or sensor-activated pumping system 手动注热水或感应送水系统 |
| 192 | Thermosiphon arrestor 热虹吸管制动装置 | 205 | Recirculation valve 再循环阀 |
| 193 | Tempering 回火阀 | 206 | Leak protection valve 防漏保护阀 |
| 194 | Thermostatic mixing 恒温混合阀 | 207 | Water hammer arrestor 水锤消除器 |
| 195 | Inlet pressure control 进口压力控制阀 | 208 | Flexible tube挠性管阀 |
| 196 | Hand spray手工喷雾器 | 209 | Tap head水龙头 |
| 197 | Replacement seat 可替换底座 | 210 | Tap head assembly水龙头 |
| 198 | Tap body水龙头主体 | 211 | 组装阀 |
| 199 | Tapset breaching piece水龙头断口部件 | 212 | spindle轴阀 |
| 200 | Removable tap seat可移动水龙头底座 | 213 | O-ringO型环(密封圈) |
| 201 | Outlet 排气阀 | 214 | Jumper valve assembly回跳阀组装 |